Solar Proposal

Financial Calculations Documentation

Complete Methodology & Formulas

Prepared for:

Paul Friesen

721028 Range Rd 93, Beaverlodge, AB T0H 0C0

Prepared by:

NorthernNRG

# Section 1: Input Data

All calculations in this proposal are based on the following verified input data provided by the customer and system design specifications.

## 1.1 Customer Electricity Usage

| Parameter | Value | Source |
| --- | --- | --- |
| Current Annual Electricity Cost | $2,204.00 | Customer utility bills |
| Annual Electricity Consumption | 6,280 kWh | Calculated from bill |
| Current All-In Rate | 35.10¢/kWh | Customer utility bills |
| Assumed Annual Rate Increase | 5% | Alberta historical average |

### Consumption Verification

The annual consumption is verified by dividing the annual cost by the rate:

Consumption = Annual Cost ÷ Rate = $2,204.00 ÷ $0.3510/kWh

= 6,279 kWh ≈ 6,280 kWh ✓

## 1.2 Solar System Specifications

| Parameter | Value |
| --- | --- |
| System Size | 5.34 kW |
| Annual Production | 6,617 kWh |
| Solar Offset | 105% |

### Solar Offset Calculation

Solar Offset = (Annual Production ÷ Annual Consumption) × 100

= (6,617 ÷ 6,280) × 100 = 105.36% ≈ 105%

## 1.3 Net Metering Parameters

| Parameter | Value | Description |
| --- | --- | --- |
| Grid Purchases (Winter) | 1,508 kWh/year | Months when consumption > production |
| Surplus Sold (Summer) | 1,845 kWh/year | Months when production > consumption |
| Net Metering Buy Rate | 16.80¢/kWh | Energy + Transmission & Distribution |
| Net Metering Sell Rate | 33.50¢/kWh | Summer surplus sell-back rate |

## 1.4 System Costs & Financing

| Parameter | Value |
| --- | --- |
| Cash Purchase Price | $33,800.05 |
| Finance Monthly Payment | $194.00 |
| Finance Term | 60 months (5 years) |
| Finance Interest Rate | 0% (first 5 years) |

## 1.5 Additional Revenue Streams

| Parameter | Value | Source |
| --- | --- | --- |
| 10-Year Carbon Credits | $836 – $1,115 | SolarOffset.ca estimate |
| Cash Back on Grid Purchases | 3% | Utility program |

# Section 2: Utility Cost Projections (Without Solar)

This section calculates what the customer would pay for electricity over 20 and 30 years if they did NOT install solar, assuming a 5% annual rate increase.

## 2.1 Cumulative Cost Formula

The cumulative cost over N years with annual increases is calculated using a geometric series:

Cumulative Cost = Σ (Year 1 Cost × (1 + rate)^(n-1)) for n = 1 to N

= Where rate = 0.05 (5%)

This is equivalent to:

Cumulative Cost = Year 1 Cost × [(1 - (1 + rate)^N) ÷ (1 - (1 + rate))]

= = Year 1 Cost × [(1 - 1.05^N) ÷ (-0.05)]

## 2.2 Year-by-Year Breakdown

| Year | Annual Cost | Cumulative Total |
| --- | --- | --- |
| 1 | $2,204.00 | $2,204.00 |
| 2 | $2,314.20 | $4,518.20 |
| 3 | $2,429.91 | $6,948.11 |
| 4 | $2,551.41 | $9,499.52 |
| 5 | $2,678.98 | $12,178.50 |
| 10 | $3,419.13 | $27,722.82 |
| 15 | $4,363.77 | $47,727.10 |
| 20 | $5,569.40 | $72,877.36 |
| 25 | $7,107.78 | $104,191.64 |
| 30 | $9,071.29 | $146,431.22 |

## 2.3 Final Utility Cost Results

20-Year Utility Cost (Without Solar): $72,877.36

30-Year Utility Cost (Without Solar): $146,431.22

# Section 3: Net Metering Calculations

Net metering allows the customer to sell surplus electricity back to the grid during high-production months and buy from the grid during low-production months.

## 3.1 Monthly Production vs. Consumption

| Month | Consume (kWh) | Produce (kWh) | Grid Buy (kWh) | Surplus Sold (kWh) |
| --- | --- | --- | --- | --- |
| January | 680 | 210 | 470 | — |
| February | 620 | 313 | 307 | — |
| March | 580 | 622 | — | 42 |
| April | 510 | 808 | — | 298 |
| May | 600 | 835 | — | 235 |
| June | 400 | 853 | — | 453 |
| July | 450 | 832 | — | 382 |
| August | 500 | 770 | — | 270 |
| September | 430 | 595 | — | 165 |
| October | 400 | 390 | 10 | — |
| November | 510 | 225 | 285 | — |
| December | 600 | 164 | 436 | — |
| TOTAL | 6,280 | 6,617 | 1,508 | 1,845 |

## 3.2 Annual Grid Purchase Cost (Year 1)

Annual Grid Cost = Grid Purchases × Buy Rate

= 1,508 kWh × $0.168/kWh = $253.34

## 3.3 Annual Sell Revenue (Year 1)

Annual Sell Revenue = Surplus Sold × Sell Rate

= 1,845 kWh × $0.335/kWh = $618.08

## 3.4 Net Annual Cash Flow (Year 1)

Net Cash Flow = Sell Revenue - Grid Cost

= $618.08 - $253.34 = $364.74

## 3.5 20-Year Net Metering Projections

Using the same 5% annual increase assumption:

### 20-Year Grid Purchase Cost

20-Year Grid Cost = Σ ($253.34 × 1.05^(n-1)) for n = 1 to 20

= $8,377.06

### 20-Year Sell Revenue

20-Year Sell Revenue = Σ ($618.08 × 1.05^(n-1)) for n = 1 to 20

= $20,437.24

# Section 4: Carbon Credit Calculations

The customer qualifies for Alberta's carbon offset credit program through SolarOffset.ca.

## 4.1 Annual CO₂ Avoided

Alberta's grid emission factor is 0.55 tonnes CO₂ per MWh.

Annual CO₂ = (Annual Production in kWh ÷ 1000) × Grid Factor

= (6,617 ÷ 1000) × 0.55 = 3.64 tonnes/year

## 4.2 Carbon Price Schedule

| Year | Alberta Benchmark | Price per Tonne |
| --- | --- | --- |
| 2026 | Year 1 | $110/t |
| 2027 | Year 2 | $125/t |
| 2028 | Year 3 | $140/t |
| 2029 | Year 4 | $155/t |
| 2030+ | Years 5-10 | $170/t (cap) |

## 4.3 Payout Calculation Methodology

SolarOffset.ca takes a commission, resulting in payouts of 45-65% of the benchmark price:

Annual Payout = CO₂ Tonnes × Benchmark Price × Payout Percentage

= Range: 3.64t × Price × 0.45  to  3.64t × Price × 0.65

## 4.4 Yearly Payout Estimates (Scaled to Match SolarOffset Quote)

SolarOffset.ca provided a 10-year estimate of $836 - $1,115. The yearly breakdown is proportionally scaled:

| Year | Benchmark | Low Estimate (45%) | High Estimate (65%) |
| --- | --- | --- | --- |
| Yr 1 (2026) | $110/t | $59.33 | $79.13 |
| Yr 2 (2027) | $125/t | $67.42 | $89.92 |
| Yr 3 (2028) | $140/t | $75.51 | $100.71 |
| Yr 4 (2029) | $155/t | $83.60 | $111.50 |
| Yr 5-10 (2030+) | $170/t | $91.69/yr | $122.29/yr |
| 10-YEAR TOTAL | — | $836.00 | $1,115.00 |

### Scaling Methodology

The sum of all carbon prices over 10 years:

Total Price Weight = 110 + 125 + 140 + 155 + (170 × 6)

= = 1,550

Each year's payout is scaled proportionally:

Year N Payout = (Year N Price ÷ 1,550) × Total 10-Year Payout

= Example Yr 1: (110 ÷ 1,550) × $836 = $59.33 (low)

# Section 5: Cash Back Calculation

The customer receives 3% cash back on all grid electricity purchases.

## 5.1 20-Year Cash Back

20-Year Cash Back = 20-Year Grid Purchases × 3%

= $8,377.06 × 0.03 = $251.31

## 5.2 30-Year Cash Back

First, calculate 30-year grid purchases:

30-Year Grid Cost = Σ ($253.34 × 1.05^(n-1)) for n = 1 to 30

= $16,831.88

Then apply 3% cash back:

30-Year Cash Back = $16,831.88 × 0.03

= $504.96

# Section 6: 20-Year Savings Analysis (Cash Purchase)

## 6.1 Benefits Summary

| Benefit Category | Amount | Calculation Reference |
| --- | --- | --- |
| 20-Year Utility Bill Avoided | $72,877.36 | Section 2.3 |
| 20-Year Net Metering Revenue | $20,437.24 | Section 3.5 |
| 10-Year Carbon Credits (High) | $1,115.00 | Section 4.4 |
| 20-Year Cash Back (3%) | $251.31 | Section 5.1 |
| TOTAL BENEFITS | $94,680.91 | Sum of above |

## 6.2 Total Benefits Calculation

Total Benefits = Utility Avoided + Net Metering + Carbon + Cash Back

= $72,877.36 + $20,437.24 + $1,115.00 + $251.31 = $94,680.91

## 6.3 True 20-Year Savings

True Savings = Total Benefits - System Cost

= $94,680.91 - $33,800.05 = $60,880.86

TRUE 20-YEAR SAVINGS: $60,881

# Section 7: 30-Year Savings Analysis

## 7.1 30-Year Net Metering Revenue

30-Year Sell Revenue = Σ ($618.08 × 1.05^(n-1)) for n = 1 to 30

= $41,064.19

## 7.2 30-Year Benefits Summary

| Benefit Category | Amount |
| --- | --- |
| 30-Year Utility Bill Avoided | $146,431.22 |
| 30-Year Net Metering Revenue | $41,064.19 |
| 10-Year Carbon Credits (High) | $1,115.00 |
| 30-Year Cash Back (3%) | $504.96 |
| TOTAL BENEFITS | $189,115.37 |

## 7.3 True 30-Year Savings

True Savings = Total Benefits - System Cost

= $189,115.37 - $33,800.05 = $155,315.32

TRUE 30-YEAR SAVINGS: $155,315

# Section 8: Monthly Finance Option Analysis

## 8.1 Monthly Cost Components

### Finance Payment

Monthly Finance Payment: $194.00 (fixed)

### Remaining Utility Bill

Monthly Utility = (Annual Grid Cost) ÷ 12

= $253.34 ÷ 12 = $21.11

## 8.2 Monthly Revenue/Credits

### Net Metering Sell Revenue

Monthly Sell Revenue = (Annual Sell Revenue) ÷ 12

= $618.08 ÷ 12 = $51.51

### Carbon Credits (Monthly Equivalent)

Monthly Carbon = (10-Year Carbon ÷ 10 years) ÷ 12 months

= ($1,115 ÷ 10) ÷ 12 = $9.29

### Cash Back

Monthly Cash Back = Monthly Utility × 3%

= $21.11 × 0.03 = $0.63

## 8.3 Monthly All-In Calculation

| Line Item | Amount |
| --- | --- |
| Finance Payment | +$194.00 |
| Remaining Utility Bill | +$21.11 |
| Less: Net Metering Revenue | -$51.51 |
| Less: Carbon Credits | -$9.29 |
| Less: Cash Back | -$0.63 |
| MONTHLY ALL-IN | $153.68 |

### Formula

Monthly All-In = Finance + Utility - Sell Revenue - Carbon - Cash Back

= $194.00 + $21.11 - $51.51 - $9.29 - $0.63 = $153.68

SOLAR MONTHLY ALL-IN: $153.68 / month

# Section 9: Final Summary of All Calculated Values

| Metric | Calculated Value | Section Reference |
| --- | --- | --- |
| System Size | 5.34 kW | Section 1.2 |
| Annual Production | 6,617 kWh | Section 1.2 |
| Solar Offset | 105% | Section 1.2 |
| Annual CO₂ Avoided | 3.64 tonnes | Section 4.1 |
| 20-Year Utility Cost (No Solar) | $72,877.36 | Section 2.3 |
| 30-Year Utility Cost (No Solar) | $146,431.22 | Section 2.3 |
| Annual Grid Purchase Cost | $253.34 | Section 3.2 |
| Annual Sell Revenue | $618.08 | Section 3.3 |
| 20-Year Net Metering Revenue | $20,437.24 | Section 3.5 |
| 10-Year Carbon Credits | $836 - $1,115 | Section 4.4 |
| 20-Year Cash Back | $251.31 | Section 5.1 |
| TRUE 20-YEAR SAVINGS | $60,880.86 | Section 6.3 |
| TRUE 30-YEAR SAVINGS | $155,315.32 | Section 7.3 |
| Monthly All-In (Finance) | $153.68 | Section 8.3 |

IMPORTANT NOTES:
• All projections assume a 5% annual electricity rate increase (Alberta historical average)
• Carbon credit values use the high estimate ($1,115) from SolarOffset.ca
• Actual results may vary based on weather, consumption changes, and rate changes
• Net metering rates and policies are subject to change